SAFETY CHECKLIST

C

Never enter the septic tank.	The tank has a manhole for cleaning and inspection from the outside only.  The tank contains very little oxygen and has high levels of hydrogen sulfide, methane, carbon dioxide, and other life threatening gases.

C	Never use electrical light, appliances, or tools in or close to the water or wet ground near the septic tank or drain field.  This can result in explosion or electrical shock.

C	Always remember that the liquid and solid contents of the septic system are capable of causing infectious diseases.  After working on any part of the septic system always wash hands thoroughly before eating, drinking, or smoking and change clothes before entering a house, food store, restaurant, etc.

C	Keep vehicles and other heavy equipment away from the septic system.  The tank and other components may collapse due to weakness from corrosion.

C	Never smoke near septic tank openings.  Gases such as methane that may be present are potentially combustible.

C	Keep children and other spectators away from the septic system when it is being cleaned or excavated.

C	If there is a smell or sewer gases in your home, immediately call a plumber or other qualified person to identify the source and correct it.  If the gas smell is very strong, evacuate the building until the problem is corrected and the gases removed.